## COM1
PLC brand | PLC module | Description
WECON | WECON SIMUTOCOL | No communication
WECON LX1S
WECON LX2N
WECON LX3V
Allen-Bradley | Allen-Bradley DF1 | For MicroLogix series,MicroLogix 1000/1200/1400/1500 SLC 5/03 5/04 5/05 PLC-5
| Allen-Bradley DF1 Advanced | Support:MicroLogix 1000/1200/1400/1500 SLC 5/03 5/04 5/05 PLC-5
| Allen-Bradley Compactlogix DF1 | Support:Allen-Bradley DF1 CompactLogix 1769
| Allen-Bradley MicroLogix | support:MicroLogix 1000/1200/1400/1500 SLC 5/03 5/04 5/05 PLC-5
ABB | ABB | pm 571/581/591
BoTa | BoTa AIBUS PROTOCOL | YuDian AI bus protocol
Delta | Delta DVP PROTOCOL | DVP EH/ES/SS/EX/EH2/SV/SA/SC/SX
| Delta DVP-ES/SS/EP/EH PLC | DVP EH/ES/SS/EX/EH2/SV/SA/SC/SX
Delta VFD Inverter(address typel) ModBus
Delta VFD-B Inverter ModBus
Delta_DVP_ModbusTCP
DVP-10MC11T PLC ModbusRTU
DVP-10MC11T Controler ModbusRTU
Delta Controler PROTOCOL
Delta DVP OneLen PROTOCOL
Delta DVP PROTOCOL HexAddr
Delta Controler ASIIC HexAddr
Delta Control Rtu_ModBus_Hex
Emerson | Emerson 984 RTU Slave ModBus
Fuji | Fuji_SPB | SPB NB
Fuji Transducer Protocol
FB | FB RS485 PROTOCOL
FATEK | FATEK ASCII | FBs-xx-MA/MC/MN FBe-xx-MC/MA FBn-xx-MCT
FSDE2(485)
FIDE1
FIDN1
FIDS1
FATEK TCP ASCII
Facon | Facon FB Series(RS232/RS485) ModBus
Facon FB Series(RS232-RTS) ModBus
Haiwell | Haiwell PLC series | Haiwell whole series PLC
HITECH | HITECH COMPUTER AS MASTER
HollySys | HollySys LK Modbus RTU | LK Series
HollySys LK Modbus TCP
| HollySys LM Modbus RTU | LM3107/3109
HollySys LM Modbus TCP
IDEC | IDEC MicroSmart PROTOCOL | FC4A-C10R2
ICPDCS | ICPDCS_I-7000_Serials
HuiChuang | Inovance H1u Plc
Inovance H2u Plc
Koyo | Koyo_CCM
| Koyo_K | If the PLC is encrypted, please use password with A,read and write,or read only
| Koyo Direct | SM24_T DL series If the PLC is encrypted, please use password with A,read and write,or read only
Dkin air condition protocol | PROVISO_TC200 | ASCII communication protocol
Keyence | Keyence_KV1000
Keyence KV-700/3000/5000
| Keyence KV-700/3000/5000/KV1000 MultlRead | KV 700/1000/3000/5000
| Keyence_KV_16DT | KV16/24/40DT
KEYENCE KV-5000(Ethernet)
LG | LG Inverter(LG-BUS ASCII)
| LG MASTER K120S | K120s K200s
LG MASTER K300S
LG MASTER-K CNet
LG XGB CPU DRIECT
LanDe | LanDe Meter
MIT | MIT FX NOPROTOCOL
MIT FX PROTOCOL
MIT FX NOPROTOCOL(FX1s\FX0n)
MIT FX1N NOPROTOCOL
MIT FX2N NOPROTOCOL
MIT FX2N 485BD/ADP
MIT FX3U/3G NOPROTOCOL
MIT Q00 CPU Port PROTOCOL
| MIT Q02H CPU Port PROTOCOL | Q 02/02H/12H/25H
| MIT QJ71 MELSEC PROTOCOL | QJ71C24N
MIT QJ71E71 MELSEC PROTOCOL
| MIT MELSEC Q | MitsubishiMELSEC-Q protocol Qna,with checksum,support Q00,Q01U,QJ71C24
MIT L02 CPU Port PROTOCOL
MIT L02 CPU MELSEC PROTOCOL
MdoBus | ModBus RTU Slave(All Fuction) | HMI send data to device,Device is master to receive data,protocol address start with 0,and includes all function
| ModBus RTU Slave | HMI send data to device,Device is master to receive data,start with 0
| ModBus RTU Slave(one based addr) | HMI send data to device,Device is master to receive data,protocol address start with 1
| ModBus RTU Slave nW | HMI send data to device,Device is master to receive data,start with 0,write data by continue write command
| ModBus RTU Slave(Read One Len) | Send data to device,Device is master to receive data,start with 0,for device which can't read continuously
ModBus TCP Slave
| ModBus RTU Slave(All Fuction OneBaseAddress) | HMI send data to device,Device is master to receive data,protocol address start with 1,and includes all function co
ModBus TCP Slave(All Fuction)
ModBus (ASCII) Slave
ModBus (ASCII) Slave(Read One Len)
| ModBus RTU Master | Waiting for receving the command from device
| ModBus RTU Master(Hoteam) | Waiting for receving the command from device
| ModBus ASCII Master | Waiting for receving the command from device
ModBus TCP Master
ModBus ASCII TCP Slave
ModBus ASCII TCP Master
| ReversalWord(ModBus) | HMI send data to device,Device is master to receive data,protocol address start with 0,and includes all function co
Modicon | Modicon 984 RTU Slave ModBus
Nardi | Nardi ModBus RTU Slave | Send data to device,Device is master to receive data,start with 0
| Nardi ModBus RTU Slave(one based addr) | Send data to device,Device is master to receive data,protocol address start with 1
| Nardi ModBus RTU Slave(All Fuction) | Send data to device,Device is master to receive data,protocol address start with 0,and includes all function code
| Nardi ModBus RTU Slave nW | Send data to device,Device is master to receive data,start with 0,write data by continue write command
| Nardi ModBus RTU Slave(Read One Len) | Send data to device,Device is master to receive data,startwith 0,for device which can't read continuously
Nardi ModBus TCP Slave
Nardi ModBus TCP Slave(All Fuction)
| Nardi ModBus (ASCII) Slave | Send data to device,Device is master to receive data,start with 0,ASCII communication protocol
Nardi ModBus (ASCII) Slave(Read One Len)
| Nardi ModBus RTU Master | Waiting for receving the command from device
| Nardi ModBus ASCII Master | Waiting for receving the command from device
| Nardi ModBus TCP Master | Waiting for receving the command from device
IMD H00 | IMD_H00 ModBus RTU Slave
NAIS | NAIS FP MEWTOCOL | Panasonic FP series PLC with decimal point
| NAIS FP MEWTOCOL(Bit NO Dot) | Panasonic FP series PLC
| NAIS FP MEWTOCOL | Panasonic FP series PLC with decimal point
OMRON | OMRON HOSTLINK
OMRON CPM1A HOSTLINK
OMRON HOSTLINK(CQM1H)
OMRON C
OMRON CS1(CP1E)
OMRON CS1(CP1H)
OMRON CS1
OMRON CV
OMRON CJ1M
OMRON CS1H
OMRON CJ UDP FINS Ethernet
OMRON CJ TCP FINS Ethernet
OMRON E5_Z
| ModBus RTU Slave(E5CZ) | OMRON E5_Z modbus
PROTEC | PROTEC Cirrus Pro
Rixin | Rixin SBL Flow Meter
Siemens | Siemens S7-200 CPU221 PPI
| Siemens S7-200 Smart | Simatic s7-200 Smart PLC
Siemens S7-200 CPU222 PPI
Siemens S7-200 CPU224 PPI
Siemens S7-200 CPU224XP PPI
Siemens S7-200 CPU226 PPI
Siemens S7-1200 PPI
Siemens S7-200 PPI(MulStation)
Siemens S7-300 Ethernet
Siemens S7-300 Ethernet Basic
Siemens S7-1200 Ethernet
Siemens S7-200 Smart(Ethernet)
Siemens S7-200(Ethernet With 243)
Siemens S7-xxx Ethernet
| Siemens S7-300 (with PC Adaptor) | CPU300/400
Siemens S7-300 MPI
Smart | Smart Module
Shinko | Shinko CxT Series ModBus
Shinko DCL Series ModBus
Shinko PC-900 Series ModBus
Schneider-Electric | Schneider-Electric Twido ModBus | SchneiderTwido series PLC communication protocol,lighted when error
SWP | SWP METER PROTOCOL
TinyPLC | TinyPLC ModBus
Taian | Taian N2 Series Inverter
Taian TP01 Series ModBus
Taian TP02 Series ModBus
Taian TP03 Series ModBus
BANNER BSP
TianHong | TianHong MODBUS RTU | TianHong whole series
Tianchen | Tianchen Meter | Tianchen whole series
Tianchen Indicator
VIGOR | VIGOR PLC
Xinjie | Xinjie XC ModBus | Xinjie XC seriesPLC
| Xinjie FC ModBus | Xinjie FC seriesPLC
| Xinjie XD/XE ModBus | Xinjie XD/XE series PLC
YASKAWA | YASKAWA NS600 ModBus
YASKAWA SERVOPACK SGDM ModBus
Yokogawa | Yokogawa FA-M3 Series ModBus | SP 25-2N
YD | YD AIBUS PROTOCOL | YuDian whole series
Yamatake | Yamatake CPL
zhongtai | zhongtai RM Meter
Ntu ao Rio PLC | ModBus RTU Slave | HMI send data to device,Device is master to receive data,start with 0
| ModBus RTU Slave(one based addr) | HMI send data to device,Device is master to receive data,protocol address start with 1
| ModBus RTU Slave(All Fuction) | HMI send data to device,Device is master to receive data,protocol address start with 0,and includes all function co
| ModBus RTU Slave nW | HMI send data to device,Device is master to receive data,start with 0
| ModBus RTU Slave(Read One Len) | Send data to device,Device is master to receive data,start with 0,for device which can't read continuously
ModBus TCP Slave
| ModBus RTU Slave(All Fuction OneBaseAddress) | HMI send data to device,Device is master to receive data,protocol address start with 0,and includes all function co
ModBus TCP Slave(All Fuction)
| ModBus (ASCII) Slave | Send data to device,Device is master to receive data,start with 0,ASCII communication protocol
ModBus (ASCII) Slave(Read One Len)
| ModBus RTU Master | Waiting for receving the command from device
| ModBus ASCII Master | Waiting for receving the command from device
ModBus TCP Master
ModBus ASCII TCP Slave
ModBus ASCII TCP Master
megmeet | megmeet | Megmeet series PLC
MIKON | MIKOM MX Series PLC | HMI send data to device,Device is master to receive data,protocol address start with 0,and includes all function co
Other Protocol | ShortMessage_Module
| Rectangle PLC | HMI send data to device,device is master,bit address start with 1
User-defined Protocol_TCP
| User-defined Protocol | Configure User defined protocol first
| OpenCAN | OpenCAN
Multi-Link Protocol
ModBus RTU Slave (YouDeMa)
ModBus RTU Master (YouDeMa)
YDM Protocol
YDM Protocol 12Bytes
AoTai ModBus RTU Slave
MP3 DRIVER
KAM
HuiZhou_ZhiShun_Hitech
BOGELANG PROTOCOL
Beijing BoGeLang
ShenZhenKeShiDa
Siemens USS Protocol
1939
ZhongKeShenJiangCAN
zhongke_huanweiche
BoKeZhiHai_MIT
AES_600
ModBus RTU Slave
TPR Protocol
DSP SCIC
TeiChengCAN
RuiAnRuiZePaiDuiJi
Beijing OuDe BP-701x
XK3102D
XK3190-A9
FAB Protocol
P900
wenzhoulixun
Yuda PLC Series
JS Protocol
JS_New Protocol
ChangHui PROTOCOL
GPS_0183_RMC PROTOCOL
PA8110A
TASUV
ModBus RTU Slave SwapCRC
Eryisantadiaokongzhi PROTOCOL
ModBus RTU HaiLiPu
| AnDaUuivertor RTU | For AnDa inverter 230V series
GuoLong TempController
songxia(Bit In Word)
ELECTRONICSYAS_ACA
ELEVEN BYTE PROTOCOL
Dema
XMT625
zhuhai1939
CJHG
Protocal EIB
| PuHua Common | For PuHua includes meter A communication protocol,Weighing communication protocol and so on
| AnDaUuivertor RTU 460V | For AnDa inverter 460V series
EasyIO 30P Modbus
| FreeProtocol | Waiting for receiving command, device reply data after receiving right command
| MEMORY LINK | Proface BIN
DMC | DMCB140_TCP_ASCII
MCAT | MCAT
Danfoss_FC_Protocol | Danfoss
Schneider_TELWAY | Schneider_TELWAY | Waiting for receiving command, device reply data after receiving right command
SNMP | SNMP
Crouzet Automatismes SA | CROUZET M3 (FBD) | Crouzet
REGIN | REGIN

## Ethernet
PLC brand | PLC module | Description
Allen-Bradley | Allen-Bradley EthernetIP-DF1 | Support:MicroLogix 1000/1200/1400/1500 SLC 5/03 5/04 5/05PLC-5
| Allen-Bradley Ethernet/IP (DF1) | Support:MicroLogix 1000/1200/1400/1500 SLC 5/03 5/04 5/05PLC-5
| Allen-Bradley Ethernet-DF1 | support:ControlLogix, CompactLogix, FelxLogix Ethernet
| Allen-Bradley Ethernet/IP(compactLogix) | Support:ControlLogix, CompactLogix, FelxLogix Ethernet
Delta | Delta_DVP_ModbusTCP | ES2/EX2/SS2/SA2/SX2/SE
FATEK | FATEC TCP ASCII
HollySys | HollySys LK Modbus TCP | LK210
HollySys LM Modbus TCP
KEYENCE | KEYENCE KV-5000 (Ethernet)
MIT | MIT QJ71E71 MELSEC PROTOCOL | QJ71E71-100
| MIT L02CPU MELSEC PROTOCOL | L02CPU
Modbus | Modbus TCP Slave | Send data to device,Device is master to receive data,start with 0,for ethernet device
| Modbus TCP Slave (All Function) | Send data to device,Device is master to receive data,start with 0,for ethernet device
| Modbus TCP Master | Waiting for receving the command from device
| Modbus ASCII TCP Slave | Send the data to device,and device will reply,start with 0,for ethernet device;Lcommunication indicator,lighted whe
Modbus ASCII TCP Master
Nardi Electronica | Nardi Modbus TCP Slave | Send data to device,Device is master to receive data,start with 0,for ethernet device
| Nardi Modbus TCP Slave (All function) | Send data to device,Device is master to receive data,start with 0,for ethernet device
| Nardi Modbus TCP Master | Waiting for receving the command from device
OMRON | OMRON CJ UDP FINS Ethernet
OMRON CJ TCP FINS Ethernet
Siemens | Siemens S7-300 Ethernet
Siemens S7-300 Ethernet Basic
Siemens S7-1200 Ethernet
Siemens S7-200 smart Ethernet
Siemens S7-200 Ethernet with 243
Siemens S7-xxx Ethernet
Ntu ao Rio PLC | ModBus TCP Slave | Send data to device,Device is master to receive data,start with 0,for ethernet device
| ModBus TCP Slave (All Function) | Send data to device,Device is master to receive data,start with 0,for ethernet device
| ModBus TCP Master | Waiting for receving the command from device
| Modbus ASCII TCP Slave | Send the data to device,and device will reply,start with 0,;communication indicator,lighted when error
| Modbus ASCII TCP Master | Master to send data;communication indicator,lighted when error
Other protocol | User-defined Protocol_TCP | Configure User defined protocol first
EasyIO | EasyIO 30P Modbus | This protocol is for EasyIO Tcp, you need to set big endian for floating data in project parameter
DMC | DMCB140_TCP_ASCII
SNMP | SNMP

## CAN
PLC brand | PLC module | Description
Other protocol | OpenCAN | OpenCAN